## Slide 1
Figure 3: Cross validated error of prediction vs model complexity 100 iterations of 10 folds
Cross- validation
Baseline correction
Introduction
Because of the importance of crops such as wheat, barley, rice, and other grasses that accumulate Si, understanding the relationship between this element and plant science is the focus of numerous scientific efforts. Si quantification is a difficult and costly task, and destructive wet chemistry methods are commonly used. With the recent development of chemometric tools, analysis of silicon in complex matrices have has been proved feasible.
Methods
Three groups of wheat plants were cultivated using both greenhouse and controlled growing chambers in hydroponic beds. These groups were different by their silicon supply, which was through NaSiO3. Samples from the leaves of plants from all three groups were analyzed using ATR-FTIR, spectra were pre-processed by calculating the mean of three samples and performing a baseline correction.
Determination of Silicon in Wheat Leaves with ATR-FTIR and Chemometrics
Andrés Beltrán1*; Andrés Cabrera1, Yohanna Cabrera2
1 Departamento de Química, Facultad de Ciencias, Universidad Nacional de Colombia, Bogotá (Colombia)
2 Department of Geosciences and Natural Resource Management Forest, Nature and Biomass, university of Copenhagen (Dinamarca)
Conclusion
Silicon quantification in a complex vegetal matrix such as wheat leaves was possible using ATR-FTIR and chemometrics. The models presented homoscedasticity (normal residuals around zero), significance (ANOVA, p-values), and good performance in prediction (CVRMSE < 1% wt.)
References
[1] Chen, H., Ferrari, C., Angiuli, M., Yao, J., Raspi, C., & Bramanti, E. (2010). Qualitative and quantitative analysis of wood samples by Fourier transform infrared spectroscopy and multivariate analysis. Carbohydrate polymers, 82(3), 772-778.
[2] Varmuza, K., & Filzmoser, P. Introduction to multivariate statistical analysis in chemometrics. CRC press, 2016.
Results
20
20
CONGRESO LATINOAMERICANO DE QUÍMICA
CARTAGENA DE INDIAS - COLOMBIA
34
3
4
CARTAGENA DE INDIAS - COLOMBIA
Diagram 2: Genetic algorithm for variable selection
20
20
CONGRESO LATINOAMERICANO DE QUÍMICA
CARTAGENA DE INDIAS - COLOMBIA
34
3
4
CARTAGENA DE INDIAS - COLOMBIA
Diagram 1: Overview flowchart showing the steps of the analysis protocol
p
*afbeltranr@unal.edu.co
Absorbance (a.u.)
Wave number (cm-1)
Predicted Si (mg/kg)
Actual Si (mg/kg)
8 variables
4 variables
12 variables
R 2adj = 0.7823
R 2adj = 0.9782
R 2adj = 0.9965
Greenhouse
Experiment
Spectra acquisition
Preprocessing
Modelling
Prediction
validation
Data Analysis
ICP OES Si measurement
Variable selection and modelling
Generate initial population and evaluate each chromosome (set gen = 1)
Selection
crossover
mutation
Evaluate newly formed chromosomes
Is
R(gen) < R(max.gen) ?
gen = gen +1
start
stop
No
Yes
F p-val = 1.51e-06
F p-val = 1.14e-11
F p-val = 2.42e-12
Figure 2: Spectra and variables selected by a genetic algorithm (left) calibration lines of predicted Si content vs ICP-OES measurements (right)
Figure 1: Raw mean ATR-FTIR spectra of wheat leaves (a) rubberband baselines and spectra (b) corrected spectra (c)